## Help
Help
Colors
Unchanged Value (Equal to Default Value)
Changed Value (Value not equal to Default Value)
Library Declaration
Header
Default Value
Key
? | Parameter Reference
HW Modules tab help and recommendations
The LibrarySolution and ObjectName column will be ignored when the module specific library sheet is provided in the import file
When the module specific library sheet is NOT provided in the import file then the following rules will apply for determing the library Solution:
If the LibrarySolution is NOT provided on HW sheet:
Checks for a matching library to use in the database
Looks in Parent module Solution
Looks in Solution = (RA - LIB) ACM
Looks in Solution = Rockwell
Looks in all other Solutions
If found in any of the above Solutions then the Highest Revision library will be used
If no match can be found then the IEM import process will fail
To override the above Solution checking then specify the SolutionName on the HW sheet
Checks for a matching library in the database based on the specified SolutionName
If found in the specified Solutions then the Highest Revision library will be used
If no match can be found then the IEM import process will fail
When the module specific library sheet is NOT provided in the import file then the following rules will apply for determing the instance Name of the library to be imported:
Specified library instance contains any substitutions for the default Name of the instance
The ObjectName column value will always be ignored
If the substitutions on the instance Name cannot be fully resolved this will result in an invalid Name and the IEM import process will fail
User must supply a module specific library sheet to the import file
Specified library instance contains NO substitutions for the default Name of the instance
The ObjectName column value will be used
If the ObjectName in the column is not provided and the default Name of the specified library instance is blank the IEM import will fail
If the ObjectName in the column is not provided and the default Name of the specified library instance uses a static value then only the first instance will be imported to prevent duplicates

## Controllers
:Controller(ControlLogix_Controller, (RA-LIB) ACM 2.00, Major 2, Minor 1, ID 454A7440-163E-48A4-8851-7DF13522BD78)
Name | Description | P_ChassisName | P_Slot | P_Size | P_SoftwareRevision | P_ProcessorType | P_PlantPAxTaskingModel_Enabled | P_EtherNetIPMode | P_AreaPath | P_AreaPathME | P_HistorianPath | P_FTLDInterfaceNo | P_ConfigureMotion | P_MotionGroupName | P_EthernetPort1_Enabled | P_EthernetPort2_Enabled | P_EthernetPort3_Enabled | P_Safety_Enabled | P_Safety_Level | P_Safety_LockApplication | P_Safety_ProtectSignature | P_Safety_ConfigureSafetyIOAlways | P_TimeSync_Priority1 | P_TimeSync_Priority2 | P_TimeSync_PTPEnable
$ |  | Local | 0 | 17 | 38 | 1756-L85EP | 0 | A1/A2: Dual-IP | /Area::[shortcut] | [shortcut] | Application/Area:RSLinx Enterprise:[shortcut] | 1 | False | MotionGroup | 1 | 1 | 1 | 1 | SIL2/PLd | 0 | 0 | 0 | 128 | 128 | 1
CLX | ControlLogix Controller | Local | 0 | 17 | 38 | 1756-L85EP | 0 |  | /Area::[shortcut] | [shortcut] | Application/Area:RSLinx Enterprise:[shortcut] | 1 | 0 | MotionGroup | 1 | 1 | 1 | 1 | SIL2/PLd | 0 | 0 | 0 | 128 | 128 | 1

## Tasks
:Library(Task, System, Major 1, Minor 0, ID F28E1F66-6594-4AAA-9537-88A0847D1D33)
:Objects
Name | Controller | Description | P_Type | P_Trigger | P_Tag | P_ExecuteTaskAfterPeriod | P_Period | P_Priority | P_Watchdog | P_DisableUpdateOutputs | P_InhibitTask | P_Class
$Task |  | Task Description | Periodic | EVENT Instruction Only |  | 0 | 10 | 10 | 500 | 0 | 0 | Standard
ExampleMachine | CLX | Task Description | Periodic | EVENT Instruction Only |  | 0 | 10 | 10 | 500 | 0 | 0 | Standard

## ObjPrg_UnitModule_FB01UN01(7.1)
:Library(ObjPrg_UnitModule_FB01UN01A, (RA-LIB) Machine, Major 7, Minor 1, ID EDED1389-E39E-4387-AEFB-BA0EB2313C71)
:Objects
Name | Controller | Task | Program | Description | P_CreatePackTags | P_CreateEquipmentIndicator | P_CreateEquipmentIndicatorAs | P_MultiController | P_CreateQueueEvents | P_LanguageSwitchingEnable | P_DispResME | P_SEHomescreenDisplay | P_SEHomescreenDisplay_RefData | P_MEHomescreenDisplay | P_MEHomescreenDisplay_RefData
$ObjPrg_UnitModule |  |  |  | Framework B Unit Module | 0 | 0 | LadderDiagram | No | No | No | 800x480 | FwkB_DisplaySE.GraphicDisplays.S002_HomeDisplay |  | FwkB_DisplayME.GraphicDisplays.S002_HomeDisplay
ObjPrg_UnitModule | CLX | ExampleMachine |  | Framework B Unit Module | 0 | 0 | LadderDiagram | No | No | No | 800x480
:LinkedLibraries
Parent | Controller | L_raM_Opr_ISATR880002_2022 | L_raM_Dvc_EAVI5C_ISATR880002_2015 | L_raM_Opr_CtrlEvtQueue | L_raM_FwkB_LP
$ObjPrg_UnitModule
ObjPrg_UnitModule | CLX | raM_Opr_ISATR880002_2022
:InterfaceLinks(raM_Itf_CtrlEvtQueue, LinkedLibrary raM_Opr_CtrlEvtQueue, Usage Input)
Parent | Controller | Keying | Ref Interface | M_Program_Name | M_Program_Name_RefData | M_TagName | M_TagName_RefData | M_TaskName | M_TaskName_RefData
$ObjPrg_UnitModule
ObjPrg_UnitModule | CLX | ExactMatch

## raM_Dvc_Valve(2.4)
:Library(raM_Dvc_Valve, (RA-LIB) Machine, Major 2, Minor 4, ID 18BF117E-B553-4942-8834-C6E6BD00CBAB)
:Objects
Name | Controller | Task | Program | Description
$raM_Dvc_Valve |  |  |  | Valve - AOI Definition
PVLV_1 | CLX |  |  | Valve - AOI Definition
PVLV_2 | CLX |  |  | Valve - AOI Definition

## raM_Opr_ISATR880002_2022(1.1)
:Library(raM_Opr_ISATR880002_2022, (RA-LIB) Machine, Major 1, Minor 1, ID F3161340-5858-4AF0-B8F3-FC44A6D17DED)
:Objects
Name | Controller | Task | Program | Description
$raM_Opr_ISATR880002_2022 |  |  |  | ISA-TR88.00.02 Mode and State Management - AOI Definiton
raM_Opr_ISATR880002_2022 | CLX |  |  | ISA-TR88.00.02 Mode and State Management - AOI Definiton

## CO Objects (hidden)
:COObjects
Name | Controller | Object | COParent | LogicalParent | Type | NameSubstitution | OrderIndex | MarkedForDeletion | MainRoutine | InstanceExecutingOrder
ObjPrg_UnitModule | CLX | ObjPrg_UnitModule | ExampleMachine |  | PROGRAM | {ObjectName} | 1
CM00_ModeRequest | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | CM00_ModeRequest | 1 |  | 0
CM01_StateRequest | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | CM01_StateRequest | 2 |  | 0
CM03_FaultHandler | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | CM03_FaultHandler | 3 |  | 0
CM04_Events | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | CM04_Events | 4 |  | 0
CM05_EMStateRequest | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | CM05_EMStateRequest | 5 |  | 0
MainRoutine | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | MainRoutine | 0 |  | 2
SR00_InitializeUN | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | SR00_InitializeUN | 6 |  | 0
SR01_LocalConditions | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | SR01_LocalConditions | 7 |  | 0
SR02_ProduceTags | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | SR02_ProduceTags | 8 |  | 0
UP01_StateModel | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | UP01_StateModel | 9 |  | 0
UP02_StateComplete | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | UP02_StateComplete | 10 |  | 0
_CM_EquipmentIndicators | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | _CM_EquipmentIndicators | 11 |  | 0
_CM_EquipmentIndicators | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | _CM_EquipmentIndicators | 11 |  | 0
_SR_PackTags | CLX | ObjPrg_UnitModule | ObjPrg_UnitModule |  | ROUTINE | _SR_PackTags | 12 |  | 0
raM_Dvc_Valve | CLX | PVLV_1 | CLX |  | AOI
raM_Dvc_Valve | CLX | PVLV_2 | CLX |  | AOI
raM_Opr_ISATR880002_2022 | CLX | raM_Opr_ISATR880002_2022 | CLX |  | AOI